## equivalence-pairs
pair_id | 是否需单独判断 | 所属规则 | 产品A | 品牌A | 产品B | 品牌B | 模型一判定 | 模型一理由 | 模型二判定 | 模型二理由 | 向量相似度 | 您的判定（相同/可替代/不可替代/拿不准） | 备注
P0073 | 是 | 需单独判断 | ISRIB, Integrated stress response inhibitor (TBI1539) - 5 MG | TribioScience | STF-083010, IRE1 inhibitor; UPR inhibitor (TBI1510) - 5 MG | TribioScience | 不可替代 | Different mechanism inhibitors (ISR vs IRE1/UPR) | 可替代 | Both suppress ISR/UPR signaling but via different mechanisms (eIF2B modulator vs IRE1 RNase inhibitor) | 0.86 | 不可替代
P0236 | 是 | 需单独判断 | Human SPP1 (Osteopontin) - Recombinant Protein - 100ug | Astor Scientific | Mouse Spp1 (Osteopontin) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same protein (Osteopontin) but different species (human vs mouse), acceptable substitute for some cross-species studies | 不可替代 | Same protein but different species (human vs mouse), changes experiment. | 0.954 | 不可替代
P0326 | 是 | 需单独判断 | Screw cap tube, 10 ml, 79 x 16 mm, PP, with print, 1000 Piece(s) | SARSTED | Screw cap tube, 10 ml, 79 x 16 mm, PP, 1000 Piece(s) | SARSTED | 可替代 | Same tube specs, differ only by printed labeling | 相同 | Same tube spec; only printed labelling differs | 0.977 | 相同
P0342 | 是 | 需单独判断 | Human WNT5A (Protein Wnt-5A) - Recombinant Protein - 100ug | Astor Scientific | Human WNT6 (Protein Wnt-6) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Both WNT family recombinant proteins but distinct ligands (WNT5A vs WNT6) with different signaling roles | 不可替代 | Different WNT family members with distinct signaling activities | 0.909 | 不可替代
P0356 | 是 | 需单独判断 | Human Integrin beta 1 - Recombinant Protein - 100ug | Astor Scientific | Recombinant Human Integrin alpha 2 beta 1 (ITGA2&ITGB1) Heterodimer Protein - 100UG | Astor Scientific | 不可替代 | Single subunit protein vs heterodimer complex, different specifications | 可替代 | Beta1 subunit alone vs alpha2beta1 heterodimer; related but different composition, may serve similar binding studies | 0.928 | 不可替代
P0358 | 是 | 需单独判断 | amfiSure qGreen 1-Step RT-qPCR Master Mix, No Rox - 10X50 rxns | GenDEPOT | amfiSure qGreen 1-Step RT-qPCR Master Mix, High Rox - 4x50 rxns | GenDEPOT | 不可替代 | Different ROX dye levels (No Rox vs High Rox) affect qPCR instrument compatibility, plus different pack sizes | 可替代 | Same master mix chemistry but No ROX vs High ROX reference dye—instrument-dependent choice | 0.929 | 不可替代
P0412 | 是 | 需单独判断 | Gelatin Solution, 0.1%, Cell Culture Tested - 1L | GenDEPOT | Laminin I, Mouse, 1mg/ml - 1ml | GenDEPOT | 不可替代 | Gelatin coating solution vs laminin protein, different substances/functions | 可替代 | Different coating substrates but both used for cell attachment coating | 0.713 | 不可替代
P0429 | 是 | 需单独判断 | Tribo™ 2x TaqMan qPCR Super Mix (ROX) - ROX, 2 x 10 ML | TribioScience | One-Step TaqProbe qRT-PCR Kit - ROX | TribioScience | 可替代 | Both are PCR/qPCR reagent kits with ROX reference dye but differ in application (qPCR supermix vs one-step RT-qPCR kit) | 不可替代 | DNA qPCR master mix vs one-step RT-qPCR kit (includes reverse transcription) | 0.883 | 不可替代
P0457 | 是 | 需单独判断 | Human SEMA4D (Semaphorin-4D) - Recombinant Protein - 100ug | Astor Scientific | Mouse Sema4d (Semaphorin-4D) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same protein (SEMA4D) but different species (human vs mouse) | 不可替代 | Human vs mouse SEMA4D — species difference affects results | 0.941 | 不可替代
P0467 | 是 | 需单独判断 | Human THPO (Thrombopoietin) - Recombinant Protein - 100ug | Astor Scientific | Mouse Thpo (Thrombopoietin) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same protein (Thrombopoietin) but different species (human vs mouse), may serve similar research purpose in some contexts | 不可替代 | Different species ortholog (human vs mouse THPO) | 0.946 | 不可替代
P0468 | 是 | 需单独判断 | Viral particle DNA Magnetic Extraction (TBS6035) - 50 Tests | TribioScience | Microbial DNA Magnetic Extraction Kit - 200 Tests | TribioScience | 不可替代 | Different extraction targets (viral vs microbial DNA) and different test counts/kit chemistry | 可替代 | Both magnetic-bead DNA extraction kits but optimized for different sample types (viral particles vs microbial cells, which need cell-wall lysis); pack size also differs | 0.887 | 不可替代
P0469 | 是 | 需单独判断 | Viral particle DNA Magnetic Extraction (TBS6035) - 50 Tests | TribioScience | Expin Gel SV (DNA isolation) - 50 Samples | TribioScience | 可替代 | Both DNA extraction kits from same brand but different technology (magnetic bead vs gel-based) for similar purpose | 不可替代 | Magnetic bead viral DNA extraction vs agarose gel DNA purification - different workflows | 0.877 | 不可替代
P0486 | 是 | 需单独判断 | Carnosol, Antioxidant (TBI2926) - 5 MG | TribioScience | Mitoquinone, Mitochondria-targeted antioxidant (TBI1363) - 25 MG | TribioScience | 不可替代 | Different compounds (Carnosol vs Mitoquinone) with different structures/mechanisms despite both antioxidants | 可替代 | Both antioxidants but different chemicals with distinct mechanisms (mitochondria-targeted vs plant phenolic); marginal substitute. | 0.834 | 不可替代
P0685 | 是 | 需单独判断 | Recombinant Mouse PDGF R alpha/PDGFRA Protein - 100UG | Astor Scientific | Human PDGFRA (Platelet-Derived Growth Factor Receptor Alpha) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same target (PDGFRA) but different species (mouse vs human) recombinant proteins | 不可替代 | Different species ortholog (mouse vs human PDGFRA); species affects binding/assay results | 0.902 | 不可替代
P0710 | 是 | 需单独判断 | VDAC Loading Control Antibody | GenDEPOT | GAPDH Loading Control Antibody | GenDEPOT | 不可替代 | Different target antigens (VDAC vs GAPDH loading controls) | 可替代 | Different antigen targets but both serve the same western blot loading-control function | 0.932 | 不可替代
P0712 | 是 | 需单独判断 | 2 × Phanta Max Master Mix (Dye Plus) P525 - P525-01: 1 ml | Vazyme | 2 × Vazyme LAmp Master Mix (Dye Plus) - P312-02: 5 × 1 ml | Vazyme | 不可替代 | Different master mixes (Phanta Max PCR vs LAmp isothermal amplification) - distinct applications | 可替代 | Both Vazyme dye-containing PCR master mixes but different polymerase systems (high-fidelity vs Taq-based) | 0.886 | 不可替代
P0721 | 是 | 需单独判断 | Human CCL3 (C-C Motif Chemokine 3) - Recombinant Protein - 100ug | Astor Scientific | Human CCL3L1 (C-C Motif Chemokine 3-Like 1) - Recombinant Protein - 100ug | Astor Scientific | 不可替代 | Different genes/proteins (CCL3 vs CCL3L1) despite similar naming | 可替代 | Closely related but distinct paralogs CCL3 vs CCL3L1 | 0.934 | 不可替代
P0758 | 是 | 需单独判断 | Nichipet EX Plus Ⅱ Autoclavable/UV Stable, Chemical resistant, One-Touch Calibration Digital Micropipette - 2-20 uL | NICHIRYO | Nichipet EX Ⅱ Autoclavable/UV Stable Digital Micropipette - 100-1000 uL | NICHIRYO | 不可替代 | Different volume ranges (2-20uL vs 100-1000uL) for different pipetting applications | 可替代 | Different volume range (2-20 vs 100-1000 uL) and model line; not interchangeable for same volumes but same function class | 0.94 | 可替代
P1001 | 是 | 需单独判断 | b-AP15 (NSC-687852), DUB inhibitor (TBI1340) - 5 MG | TribioScience | P5091, DUB USP7 inhibitor (TBI1422) - 5 MG | TribioScience | 可替代 | Both DUB inhibitors but target different specificities (general DUB vs USP7-specific) | 不可替代 | Both DUB inhibitors but different targets (USP14/UCHL5 vs USP7), changing experimental outcome. | 0.828 | 不可替代
P1024 | 是 | 需单独判断 | Human FSTL1 (Follistatin-Related Protein 1) - Recombinant Protein - 100ug | Astor Scientific | Human FST (Follistatin) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | related follistatin family proteins with overlapping activin-binding function, could serve similar research purpose | 不可替代 | FSTL1 and FST are distinct proteins | 0.957 | 不可替代
P1196 | 是 | 需单独判断 | Human APOA1 (Apolipoprotein A-I) - Recombinant Protein - 100ug | Astor Scientific | Mouse Apoa1 (Apolipoprotein A-I) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same protein APOA1 but different species (human vs mouse) | 不可替代 | Different species ortholog of APOA1 | 0.936 | 不可替代
P1224 | 是 | 需单独判断 | Nichipet ECO Digital Glass Tip Pipette and Acces - Glass Tips: 20-200ul | NICHIRYO | Nichipet ECO Digital Glass Tip Pipette and Acces - Pipette: 20-200ul | NICHIRYO | 可替代 | One listing is tips accessory, other is the pipette itself - different components of same system | 不可替代 | Replacement glass tips vs the pipette instrument itself | 0.981 | 可替代
P1272 | 是 | 需单独判断 | Human PRSS8 (Prostasin) - Recombinant Protein - 100ug | Astor Scientific | Mouse Prss8 (Prostasin) - Recombinant Protein - 100ug | Astor Scientific | 不可替代 | Different species (human vs mouse) recombinant protein, not interchangeable | 可替代 | Same protein prostasin but different species (human vs mouse) | 0.936 | 不可替代
P1280 | 是 | 需单独判断 | CHIR 98014 , ≥98% - 10 mg | GenDEPOT | CHIR 99021, GSK-3 Inhibitor , Free Base - 25 mg | GenDEPOT | 不可替代 | Different GSK-3 inhibitor compounds (CHIR98014 vs CHIR99021), different potency/specificity | 可替代 | Different GSK-3 inhibitor compounds but same functional use | 0.803 | 不可替代
P1321 | 是 | 需单独判断 | 2× EpiArt HS Taq Master Mix EM201 - EM201-01: 1 ml | Vazyme | 2 × EpiArt HS Taq Master Mix (Dye Plus) EM202 - EM202-01: 1ml | Vazyme | 不可替代 | EM201 is standard master mix while EM202 is a Dye Plus formulation, a functional difference not just packaging | 可替代 | Same HS Taq master mix line; B contains loading dye, which affects downstream use (e.g., not for real-time/spectro) but functionally equivalent for PCR | 0.975 | 可替代
P1440 | 是 | 需单独判断 | amfiSure qGreen 1-Step RT-qPCR Master Mix, Fluorescein - 50 rxns | GenDEPOT | amfiSure qGreen Q-PCR Master Mix(2X), Fluorescein - 50x1ml | GenDEPOT | 可替代 | Both qPCR master mixes from same brand but one is RT-qPCR one-step vs standard Q-PCR mix, different application scope | 不可替代 | One-step RT-qPCR mix (RNA input, includes RT) vs DNA qPCR mix — different assay function | 0.948 | 不可替代
P1453 | 是 | 需单独判断 | Mouse Brain Dissociation Kit for scRNA-seq - 10 Tests/Kit | FireGene | Blood Vessel Dissociation Kit for Single-Cell Applications - 10 Tests/Kit | FireGene | 不可替代 | Different tissue/sample dissociation kits (mouse brain vs blood vessel), different intended samples | 可替代 | Both tissue dissociation kits for single-cell prep but optimized for different tissues (brain vs blood vessel); enzymes differ | 0.837 | 不可替代
P1497 | 是 | 需单独判断 | amfiSure Hot-Start Taq DNA Polymerase - 100 units | GenDEPOT | Pfu DNA Polymerase Ultra Pure, 5 units/ul - 10000 units | GenDEPOT | 不可替代 | Different polymerase types (Taq vs Pfu) with different fidelity/use cases | 可替代 | Both thermostable DNA polymerases but Taq hot-start vs proofreading Pfu differ in fidelity | 0.832 | 不可替代
P1502 | 是 | 需单独判断 | amfiXpand Hot-Start Version , Including dNTP&MgCl2 - 6x200 units | GenDEPOT | amfiXpand Taq DNA Polymerase - 25X100 units | GenDEPOT | 不可替代 | Different formulations - hot-start master mix with dNTP/MgCl2 vs plain Taq polymerase enzyme | 可替代 | Same Taq polymerase line; hot-start with dNTP/MgCl2 vs standard Taq—usable for similar PCR but different performance. | 0.836 | 不可替代
P1503 | 是 | 需单独判断 | amfiXpand Hot-Start Version , Including dNTP&MgCl2 - 6x200 units | GenDEPOT | amfiSure Hot-Start Taq DNA Polymerase - 250 units | GenDEPOT | 不可替代 | amfiXpand hot-start mix (with dNTP/MgCl2) differs from amfiSure Taq polymerase alone - different formulations | 可替代 | Both hot-start Taq PCR reagents from same brand; one includes dNTP/MgCl2 mix | 0.843 | 不可替代
P1504 | 是 | 需单独判断 | amfiXpand Hot-Start Version , Including dNTP&MgCl2 - 6x200 units | GenDEPOT | amfiEco PCR Premix - 5x96rxns | GenDEPOT | 不可替代 | Different PCR reagent formulations (hot-start master mix with dNTP/MgCl2 vs premix), different specs | 可替代 | Hot-start polymerase kit vs ready-to-use PCR premix; both amplify DNA but different format/performance | 0.842 | 不可替代
P1539 | 是 | 需单独判断 | HPA (Hexyl-4-pentynoic acid), HDAC inhibitor (TBI1160) - 20 MG | TribioScience | Phenylbutyrate Na, HDAC inhibitor (TBI1118) - 1 G | TribioScience | 不可替代 | Different HDAC inhibitor compounds | 可替代 | Different chemical entities but both HDAC inhibitors serving the same purpose | 0.842 | 不可替代
P1575 | 是 | 需单独判断 | Human SNCA (Alpha-Synuclein) - Recombinant Protein - 100ug | Astor Scientific | Mouse Snca (Alpha-Synuclein) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same target protein (Alpha-Synuclein) but different species orthologs, often interchangeable for many assays | 不可替代 | Different species ortholog (human vs mouse alpha-synuclein) | 0.953 | 不可替代
P1576 | 是 | 需单独判断 | Mouse Mmp8 (Neutrophil Collagenase) - Recombinant Protein - 100ug | Astor Scientific | Human MMP8 (Neutrophil Collagenase) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same target protein (MMP8) but different species (mouse vs human), acceptable substitute for many research purposes | 不可替代 | Same target but different species ortholog (mouse vs human MMP8), which changes experimental outcome | 0.945 | 不可替代
P1588 | 是 | 需单独判断 | Mouse Ighg (Ig Gamma-2A Chain C Region, A Allele) - Recombinant Protein - 100ug | Astor Scientific | Mouse IgG2a-Fc - Recombinant Protein - 100ug | Astor Scientific | 相同 | Same protein (Mouse IgG2a Fc/C region) just named differently, same brand and amount | 可替代 | Full IgG2a heavy-chain C region vs Fc fragment only; related but different constructs | 0.94 | 不可替代
P1595 | 是 | 需单独判断 | AR-A 014418, GSK-3 inhibitor (TBI1195) - 25 MG | TribioScience | GSK-690693 HCl, Akt inhibitor (TBI1310) - 25 MG | TribioScience | 可替代 | Both are kinase pathway inhibitors (GSK-3 vs Akt) used in similar signaling studies but target different kinases | 不可替代 | GSK-3 inhibitor vs Akt inhibitor — different kinase targets. | 0.867 | 不可替代
P1676 | 是 | 需单独判断 | AceQ Probe Master Mix Q113-EN - Q113-EN02: 500 rxns (20 μl/rxn) | Vazyme | HiScript II One Step qRT-PCR Probe Kit Q223-EN - Q223-EN01: 250 rxns (20 μl/rxn) | Vazyme | 可替代 | Both qPCR/RT-qPCR probe-based reagent kits from Vazyme serving similar detection purpose, but different chemistries (master mix vs one-step RT-qPCR kit) | 不可替代 | qPCR probe master mix (DNA template) vs one-step qRT-PCR kit with reverse transcriptase | 0.849 | 不可替代
P1749 | 是 | 需单独判断 | Human CES1 (Liver Carboxylesterase 1) - Recombinant Protein - 100ug | Astor Scientific | Mouse Ces1d (Carboxylesterase 1D) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same enzyme family (carboxylesterase) but different species orthologs | 不可替代 | Different species and different gene (CES1 vs Ces1d isoform) | 0.876 | 不可替代
P1815 | 是 | 需单独判断 | Mouse Ctsb (Cathepsin B) - Recombinant Protein - 100ug | Astor Scientific | Human CTSB (Cathepsin B) - Recombinant Protein - 100ug | Astor Scientific | 不可替代 | Same protein but different species (Mouse vs Human Cathepsin B) | 可替代 | Same enzyme cathepsin B but mouse vs human ortholog; species matters for many assays | 0.942 | 不可替代
P1951 | 是 | 需单独判断 | Human CTSL (Procathepsin L) - Recombinant Protein - 100ug | Astor Scientific | Mouse Ctsl (Procathepsin L) - Recombinant Protein - 100ug | Astor Scientific | 可替代 | Same protein (Procathepsin L) but different species (human vs mouse) | 不可替代 | Species differ: human vs mouse cathepsin L | 0.941 | 不可替代
P0056 |  | 同一产品，只有包装规格不同 | Apilimod, IL12/23 inhibitor/Inhibits SARS-CoV2 infection (TBI4970) - 25 MG | TribioScience | Apilimod, IL12/23 inhibitor/Inhibits SARS-CoV2 infection (TBI4970) - 5 MG | TribioScience | 可替代 | Same compound Apilimod, different mass sizes (25mg vs 5mg) | 相同 | Same compound and catalog number, only pack size differs | 0.969 | 可替代
P0339 |  | 同一产品，只有包装规格不同 | TUNEL BrightRed Apoptosis Detection Kit A113 - A113-01: 100 rxns | Vazyme | TUNEL BrightRed Apoptosis Detection Kit A113 - A113-01: 25 rxns | Vazyme | 可替代 | Same kit, different reaction pack sizes (100 vs 25 rxns) | 相同 | Same kit, only reaction pack size differs | 0.98 | 可替代
P0512 |  | 同一产品，只有包装规格不同 | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 1.5 ml, sterile, 1000 Piece(s) | SARSTED | 不可替代 | Different tube volume (2ml vs 1.5ml) | 可替代 | Same tube type but different volume (2 ml vs 1.5 ml) | 0.94 | 可替代
P0670 |  | 同一产品，只有包装规格不同 | Universal Aspergillus TaqMan qPCR Detection - 100 Reactions | TribioScience | Universal Aspergillus TaqMan qPCR Detection - 200 Reactions | TribioScience | 可替代 | Same assay, different reaction count (pack size) but functionally same use case | 相同 | Same qPCR kit, differs only in reaction count/pack size | 0.977 | 可替代
P0677 |  | 同一产品，只有包装规格不同 | Plerixafor, CXCR4 antagonist (TBI2864) - 10 MG | TribioScience | Plerixafor, CXCR4 antagonist (TBI2864) - 50 MG | TribioScience | 可替代 | Same compound, different pack size (10mg vs 50mg) | 相同 | Same compound and catalog number, pack size only | 0.97 | 可替代
P0738 |  | 同一产品，只有包装规格不同 | NEST 6 Cell Culture Inserts+6 Well Plate, PET Membrane, TC, Sterile, 6/pk, 60/cs - 3.0 um | NEST Scientific | NEST 12 Cell Culture Inserts+12 Well Plate, PET Membrane, TC, Sterile, 12/pk, 120/cs - 0.8 um | NEST Scientific | 不可替代 | Different well counts (6 vs 12) and membrane pore sizes (3.0um vs 0.8um), affecting cell culture application | 可替代 | Same insert system but different plate format (6 vs 12 well) and pore size (3.0 vs 0.8 um) | 0.862 | 可替代
P0748 |  | 同一产品，只有包装规格不同 | Screw cap tube, 13 ml, 101 x 16.5 mm, PP, 1000 Piece(s) | SARSTED | Screw cap tube, 10 ml, 79 x 16 mm, PP, 1000 Piece(s) | SARSTED | 不可替代 | Different tube volumes and dimensions (13ml vs 10ml) affect capacity for experiments | 可替代 | Same screw cap PP tube type, different volume/length (13 vs 10 ml) | 0.943 | 可替代
P0805 |  | 同一产品，只有包装规格不同 | Cryogenic Vials with Side Bardcode-1.0 ml, External Thread, 25/Bag, 500/Pack, 1000/Case - Blue / Case (1000 pcs/Case) | Biologix | Cryogenic Vials with Side Bardcode-0.5 ml, External Thread, 25/Bag, 500/Pack, 1000/Case - Blue / Case (1000 pcs/Case) | Biologix | 不可替代 | Different vial volumes (1.0ml vs 0.5ml) affect sample capacity | 可替代 | Same barcoded external-thread cryovial line differing only in volume (1.0 vs 0.5 mL) | 0.98 | 可替代
P1010 |  | 同一产品，只有包装规格不同 | CryoKING® 2L/3L/6L/10L Liquid Nitrogen Tank Portable Dewar Series - 3L | Biologix | CryoKING® 2L/3L/6L/10L Liquid Nitrogen Tank Portable Dewar Series - 10L | Biologix | 不可替代 | Different tank capacities (3L vs 10L) affecting storage capacity and use case | 可替代 | Same dewar series but 3 L vs 10 L capacity — different storage volume | 0.93 | 可替代
P1018 |  | 同一产品，只有包装规格不同 | Screw cap micro tube, 2 ml, 500 Piece(s) | SARSTED | Screw cap micro tube, 0.5 ml, 250 Piece(s) | SARSTED | 不可替代 | Different tube volumes (2ml vs 0.5ml) - different capacity use case | 可替代 | Same screw cap tube line but different volume (2 ml vs 0.5 ml) | 0.939 | 可替代
P1121 |  | 同一产品，只有包装规格不同 | NEST Natural Color Round HDPE Storage Bottle, Wide Mouth, Sterile - 30 mL - 10/pk, 200/cs | NEST Scientific | NEST Natural Color Round HDPE Storage Bottle, Wide Mouth, Sterile - 125 mL - 10/pk, 100/cs | NEST Scientific | 不可替代 | Different volume sizes (30mL vs 125mL) change usage/experimental context | 可替代 | Same bottle line, different fill volume (30 vs 125 mL) | 0.929 | 可替代
P1293 |  | 同一产品，只有包装规格不同 | Pinacidil, Potassium channel opener (TBI2856) - 10 MG | TribioScience | Pinacidil, Potassium channel opener (TBI2856) - 50 MG | TribioScience | 可替代 | Same compound, only different pack size (10mg vs 50mg) | 相同 | Same compound and catalog number, only pack size differs | 0.963 | 可替代
P1312 |  | 同一产品，只有包装规格不同 | DISPET Variable Volume Bottle-top Dispenser - 0.4 - 2.0 mL | NICHIRYO | DISPET Variable Volume Bottle-top Dispenser - 1 - 5 mL | NICHIRYO | 不可替代 | Different volume ranges (0.4-2.0 mL vs 1-5 mL) mean different dispensing applications, not interchangeable | 可替代 | Same dispenser line but different volume ranges; overlapping use but different specification | 0.944 | 可替代
P1336 |  | 同一产品，只有包装规格不同 | Anti-Cancer Antigen 15-3 (Anti-CA15-3) Monoclonal antibody (TMC072) - 0.2 MG | TribioScience | Anti-Cancer Antigen 15-3 (Anti-CA15-3) Monoclonal antibody (TMC072) - 1 MG | TribioScience | 可替代 | Same antibody clone, different pack size (0.2mg vs 1mg) | 相同 | Same clone antibody, only pack size differs | 0.962 | 可替代
P1353 |  | 同一产品，只有包装规格不同 | Anti-Lipoprotein-Associated Phospholipase A2 (Lp-PLA2) Monoclonal Antibody (TML063) - 0.2 MG | TribioScience | Anti-Lipoprotein-Associated Phospholipase A2 (Lp-PLA2) Monoclonal Antibody (TML061) - 0.2 MG | TribioScience | 不可替代 | Different clone/catalog numbers imply different antibody clones despite same target | 可替代 | Same Lp-PLA2 target, different monoclonal clones (TML063 vs TML061); epitope/application may differ | 0.987 | 可替代
P1451 |  | 同一产品，只有包装规格不同 | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 0.5 ml, sterile, 1000 Piece(s) | SARSTED | 不可替代 | Different tube volumes (2ml vs 0.5ml) affecting sample capacity | 可替代 | Same tube type but 2 ml vs 0.5 ml capacity | 0.934 | 可替代
P1461 |  | 同一产品，只有包装规格不同 | Screw cap micro tube, 0.5 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, sterile, 500 Piece(s) | SARSTED | 不可替代 | Different tube volume (0.5ml vs 2ml) and pack size, different specification | 可替代 | Same tube type but different volume (0.5 vs 2 ml) | 0.938 | 可替代
P1632 |  | 同一产品，只有包装规格不同 | NEST Amber Color Round HDPE Storage Bottle, Wide Mouth, Sterile - 250 mL - 10/pk, 100/cs | NEST Scientific | NEST Amber Color Round HDPE Storage Bottle, Wide Mouth, Sterile - 60 mL - 10/pk, 200/cs | NEST Scientific | 相同 | Same product, different volume/pack size only | 可替代 | Same bottle line but 250 mL vs 60 mL capacity; interchangeable only for some uses | 0.951 | 可替代
P1642 |  | 同一产品，只有包装规格不同 | Screw cap tube, 15 ml, 120 x 17 mm, PP, with print, 500 Piece(s) | SARSTED | Screw cap tube, 30 ml, 107 x 25 mm, PP, with print, 50 Piece(s) | SARSTED | 不可替代 | Different volume and dimension tubes, not interchangeable | 可替代 | Same tube type, different volume/dimensions and pack count | 0.912 | 可替代
P1680 |  | 同一产品，只有包装规格不同 | Screw cap tube, 5 ml, 57 x 15.3 mm, PP, 1000 Piece(s) | SARSTED | Screw cap tube, 13 ml, 101 x 16.5 mm, PP, 1000 Piece(s) | SARSTED | 不可替代 | Different tube volumes/sizes (5ml vs 13ml) affect capacity and use | 可替代 | Same tube type but 5 ml vs 13 ml capacity; not directly interchangeable | 0.895 | 可替代
P1712 |  | 同一产品，只有包装规格不同 | Screw cap tube, 13 ml, 101 x 16.5 mm, PP, 500 Piece(s) | SARSTED | Screw cap tube, 25 ml, 90 x 25 mm, PP, 500 Piece(s) | SARSTED | 不可替代 | Different tube sizes/volumes (13ml vs 25ml), different dimensions | 可替代 | Same screw cap PP tube line but different volume/dimensions (13 vs 25 ml); could substitute for general storage. | 0.901 | 可替代
P1832 |  | 同一产品，只有包装规格不同 | Damnacanthal, p56 Lck inhibitor (TBI2516) - 1 MG | TribioScience | Damnacanthal, p56 Lck inhibitor (TBI2516) - 5 MG | TribioScience | 可替代 | Same inhibitor, different pack size (1mg vs 5mg) | 相同 | Same compound and catalog number, only pack size differs | 0.968 | 可替代
P1861 |  | 同一产品，只有包装规格不同 | Benzoylecgonine Monoclonal Antibody (TMB022) - 1 MG | TribioScience | Benzoylecgonine Monoclonal Antibody (TMB021) - 1 MG | TribioScience | 不可替代 | Different clones (TMB022 vs TMB021) targeting same antigen, likely different antibody products | 可替代 | Same target/format but different monoclonal clones (TMB022 vs TMB021); epitope/performance may differ | 0.989 | 可替代
P0010 |  | 同类耗材，容量不同 | Screw cap micro tube, 1.5 ml, Biosphere plus, 500 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | 不可替代 | Different tube size (1.5ml vs 2ml) and sterility spec | 可替代 | Both Sarstedt screw-cap micro tubes but differ in volume (1.5 vs 2 ml) and Biosphere plus vs standard sterile grade | 0.908 | 不可替代
P0020 |  | 同类耗材，容量不同 | NEST PP Centrifuge Tubes with Plug Seal Cap, Sterile (250 ml and 500 ml) - 500 mL - racked, 4/pk, 24/cs | NEST Scientific | Centrifuge Tubes, 50 ml ,PP,Sterile,Plug-Seal Cap,Self Standing, in Bag | GenDEPOT | 不可替代 | Different volumes (500mL vs 50mL) and different brands/products, not interchangeable | 可替代 | Both sterile PP plug-seal centrifuge tubes but 500 mL vs 50 mL capacity, different brands | 0.824 | 不可替代
P0076 |  | 同类耗材，容量不同 | Screw cap micro tube, 0.5 ml, PCR Performance Tested, 1000 Piece(s) | SARSTED | Screw cap micro tube, 0.5 ml, 500 Piece(s) | SARSTED | 相同 | Same product (0.5ml screw cap micro tube), only pack size differs | 可替代 | Same 0.5 ml screw cap tube but one is PCR performance tested grade; pack size differs | 0.945 | 不可替代
P0077 |  | 同类耗材，容量不同 | Screw cap micro tube, 0.5 ml, PCR Performance Tested, 1000 Piece(s) | SARSTED | Screw cap micro tube, 1.5 ml, sterile, 500 Piece(s) | SARSTED | 不可替代 | Different tube volumes (0.5 mL vs 1.5 mL) and sterility spec change experimental use | 可替代 | Same tube type but different capacity (0.5 vs 1.5 mL) and qualification (PCR-tested vs sterile). | 0.916 | 不可替代
P0100 |  | 同类耗材，容量不同 | NEST Filtered Pipette Tips, Clear, Racked, Low Retention, Sterile, 96/box, 960/pk, 4800/cs - 100 ul | NEST Scientific | Pipette Tips, Extra-long, Clear, DoubleStack Racked, Racked, Low-retention, Sterile, 96 tips/wafer,10 wafers (960 tips)/pk, 9600 tips/cs - 200 ul | AstorScientific | 可替代 | Both filtered low-retention pipette tips but different volume ranges (100ul vs 200ul) and design | 不可替代 | Different tip volume (100 µl vs 200 µl extra-long); not interchangeable on instrument/volume | 0.83 | 不可替代
P0141 |  | 同类耗材，容量不同 | Screw cap tube, 3.5 ml, 92 x 13 mm, conical false bottom, rounded tube bottom, PP, without cap, 1000 Piece(s) | SARSTED | Screw cap tube, 10 ml, 79 x 16 mm, PP, 1000 Piece(s) | SARSTED | 不可替代 | Different volume (3.5ml vs 10ml) and dimensions/design (false bottom vs standard) | 可替代 | Same type of PP screw cap tube but different volume/dimensions (3.5 ml conical vs 10 ml); usable for similar sample storage but not interchangeable one-for-one | 0.904 | 不可替代
P0142 |  | 同类耗材，容量不同 | Screw cap tube, 3.5 ml, 92 x 13 mm, conical false bottom, rounded tube bottom, PP, without cap, 1000 Piece(s) | SARSTED | Screw cap tube, 13 ml, 101 x 16 mm, PP, 500 Piece(s) | SARSTED | 不可替代 | Different tube sizes (3.5ml vs 13ml) and dimensions, not interchangeable | 可替代 | Same screw-cap PP tube family but 3.5 ml conical vs 13 ml; capacity difference matters though function similar | 0.914 | 不可替代
P0150 |  | 同类耗材，容量不同 | Screw cap tube,4.5 ml, 75 x 12 mm, PP, with print, 1000 Piece(s) | SARSTED | Screw cap tube, 10 ml, 79 x 16 mm, PP, 1000 Piece(s) | SARSTED | 不可替代 | Different tube volumes/dimensions (4.5ml vs 10ml) affecting sample capacity | 可替代 | Same screw cap PP tube line but different volume/dimensions (4.5 vs 10 mL) | 0.905 | 不可替代
P0214 |  | 同类耗材，容量不同 | NEST 96 Well Cell Culture Plate, V-bottom, sterile 1/pk, 100/cs - TC | NEST Scientific | Assay Plate: 96-Well, “V” Bottom, Clear, RNase/DNase-, and Pyrogen-free - 50 Plates | TribioScience | 可替代 | Both are 96-well V-bottom cell culture/assay plates, sterile, similar use though different brands and pack sizes | 不可替代 | A is tissue-culture-treated cell culture plate; B is untreated assay plate—surface treatment changes cell attachment | 0.757 | 不可替代
P0225 |  | 同类耗材，容量不同 | Screw cap micro tube, 2 ml, 250 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | 相同 | Same product, different pack size/sterility labeling | 可替代 | Same 2 mL screw-cap tube, but one is sterile and one is not; sterility can affect use | 0.975 | 可替代，相同容量
P0242 |  | 同类耗材，容量不同 | Screw cap micro tube, 1.5 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 1.5 ml, 500 Piece(s) | SARSTED | 相同 | Same screw cap micro tube 1.5ml, only pack size differs | 可替代 | Same 1.5 ml tube; sterile vs non-sterile difference matters for some uses | 0.981 | 可替代
P0243 |  | 同类耗材，容量不同 | Screw cap micro tube, 1.5 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, 500 Piece(s) | SARSTED | 不可替代 | Different tube volumes (1.5ml vs 2ml) affect sample capacity/experiment setup | 可替代 | Same tube type but different volume (1.5 vs 2 ml) and sterility spec | 0.925 | 不可替代
P0381 |  | 同类耗材，容量不同 | Biologix® 1000ml PP Reagent Bottles, Clear, 10 /Bag, 5 Bags/Case - 50 /Case | Biologix | Biologix® 30ml PP reagent bottles, Clear color, Autoclavable, 100/Bag, 10 Bags/Case - 1000/Case | Biologix | 不可替代 | Different volume (1000ml vs 30ml) reagent bottles, different use case | 可替代 | Same reagent bottle line but 1000 mL vs 30 mL capacity; only loosely interchangeable | 0.929 | 不可替代
P0506 |  | 同类耗材，容量不同 | Screw cap micro tube, 0.5 ml, 500 Piece(s) | SARSTED | Screw cap micro tube, 1.5 ml, PCR Performance Tested, Low protein-binding, 1000 Piece(s) | SARSTED | 不可替代 | Different tube volume (0.5ml vs 1.5ml) and different performance specs (PCR-tested, low-binding) | 可替代 | Both screw-cap micro tubes but different volume (0.5 vs 1.5 ml) and performance grade | 0.9 | 不可替代
P0539 |  | 同类耗材，容量不同 | NEST Filtered Pipette Tips, Clear, Racked, Low Retention, Sterile, 96/box, 960/pk, 4800/cs - 10 ul - extra long | NEST Scientific | Pipette Tips, Extra-long, Clear, DoubleStack Racked, Racked, Low-retention, Sterile, 96 tips/wafer,10 wafers (960 tips)/pk, 9600 tips/cs - 200 ul | AstorScientific | 可替代 | Both filtered low-retention pipette tips but different sizes (10ul vs 200ul) | 不可替代 | Tip capacity differs (10 µl vs 200 µl); not interchangeable for pipetting volumes | 0.828 | 不可替代
P0540 |  | 同类耗材，容量不同 | NEST Serological Pipette Individually Wrapped, sterile - 100 mL - 0 ml negative graduation, 1 ml graduations, 25/bag, 50/pk, 300/cs | NEST Scientific | NEST Serological Pipette with 0.4ml negative graduation, 1/100 ml graduations, Sterile, 20 per bulk bag - 10 mL - 3.0ml negative graduation, 1/10 ml graduations, 500/pk, 1500/cs | NEST Scientific | 可替代 | Different pipette volumes/graduations (100mL vs 10mL) serving different volume needs | 不可替代 | Serological pipettes of very different capacity (100 mL vs 10 mL) and graduation | 0.941 | 不可替代
P0541 |  | 同类耗材，容量不同 | NEST Serological Pipette Individually Wrapped, sterile - 100 mL - 0 ml negative graduation, 1 ml graduations, 25/bag, 50/pk, 300/cs | NEST Scientific | NEST Serological Pipette Individually Wrapped, sterile - 50 mL - 6.0ml negative graduation, 5/10 ml graduations, 25/bag, 100/cs, 600/cs | NEST Scientific | 不可替代 | Different pipette volumes (100mL vs 50mL) with different graduations, not interchangeable | 可替代 | Same product line but 100 mL vs 50 mL capacity/graduation—different volume range | 0.953 | 不可替代
P0759 |  | 同类耗材，容量不同 | Screw cap tube, 15 ml, 120 x 17 mm, PS, with print, 500 Piece(s) | SARSTED | Screw cap tube, 10 ml, 92 x 15.3 mm, PP, 100 Piece(s) | SARSTED | 不可替代 | Different volume, dimensions and material (15ml PS printed vs 10ml PP) | 可替代 | Both screw cap tubes but different volume/material | 0.87 | 不可替代
P0849 |  | 同类耗材，容量不同 | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, 250 Piece(s) | SARSTED | 相同 | Same product, different pack size (sterile 2ml tube) | 可替代 | Same 2 ml screw cap tube but sterile vs non-sterile (and pack size) | 0.975 | 不可替代
P0854 |  | 同类耗材，容量不同 | Biologix® 50ml Conical Bottom Centrifuge Tubes With Screw Caps, Sterile, 500/Case - Plug Seal / Bulk (25 /Bag, 20 Bags/Case) | Biologix | Centrifuge Tubes, 50 ml , Black ,PP,Sterile - 25/Bag | GenDEPOT | 可替代 | Both 50ml sterile centrifuge tubes, differ in color/material treatment but interchangeable for most uses | 相同 | Both sterile 50 ml PP conical screw-cap centrifuge tubes; only brand/pack differ. | 0.831 | 可替代，相同容量
P0885 |  | 同类耗材，容量不同 | Pipette Tips, Extra-long, Clear, DoubleStack Racked, Racked, Low-retention, Sterile, 96 tips/wafer,10 wafers (960 tips)/pk, 9600 tips/cs - 200 ul | AstorScientific | NEST Filtered Pipette Tips, Clear, Racked, Sterile, 96/box, 960/pk, 4800/cs - 10 ul - extra long | NEST Scientific | 可替代 | Both extra-long pipette tips but different volume spec (200ul vs 10ul) and brand | 不可替代 | 200 uL non-filtered tips vs 10 uL filtered tips: different volume and filter spec | 0.822 | 不可替代
P0887 |  | 同类耗材，容量不同 | Pipette Tips, Extra-long, Clear, DoubleStack Racked, Racked, Low-retention, Sterile, 96 tips/wafer,10 wafers (960 tips)/pk, 9600 tips/cs - 200 ul | AstorScientific | NEST Pipette Tips, Clear, non-filtered, Racked, Sterile, 96/box, 960/pk, 4800/cs - 200-1000 ul | NEST Scientific | 可替代 | Both are 200uL pipette tips, low-retention/sterile, different brands but functionally interchangeable | 不可替代 | Different tip volume ranges (200 µl low-retention vs 200-1000 µl non-filtered) | 0.847 | 不可替代
P1116 |  | 同类耗材，容量不同 | CryoPure tubes, 1.2 ml, QuickSeal screw cap, yellow, 500 Piece(s) | SARSTED | CryoPure tubes, 2 ml, QuickSeal screw cap, violet, 500 Piece(s) | SARSTED | 不可替代 | Different volume (1.2ml vs 2ml) and cap color denote distinct product SKUs for different use volumes | 可替代 | Same cryovial line, different volume (1.2 vs 2 ml) and cap color | 0.912 | 不可替代
P1131 |  | 同类耗材，容量不同 | CryoKING® 1.5ml Cryogenic Vials, External Thread, Sterile, Self-Standing, Side Barcode, 25/Bag, 500/Pack, 1000/Case - White / Case (1000 pcs/Case) | Biologix | CryoKING® 1.5ml Cryogenic Vials, Self-Standing, 25/Bag, 500/Pack, 1000/Case - White / Case (1000 pcs) | Biologix | 相同 | same CryoKING 1.5ml cryogenic vial product, minor listing differences | 可替代 | Same 1.5ml self-standing cryovials; A specifies sterile external thread with side barcode—labelling/spec difference for tracking | 0.956 | 不可替代，相同容量，一个有二维码
P1159 |  | 同类耗材，容量不同 | Screw cap micro tube, 1.5 ml, PCR Performance Tested, 1000 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | 不可替代 | different tube volumes (1.5ml vs 2ml) and sterility spec differ, affects use | 可替代 | Same screw-cap microtube family but different volume (1.5 vs 2 ml) and sterility/PCR grade. | 0.89 | 不可替代
P1234 |  | 同类耗材，容量不同 | Centrifuge Tubes, 15 ml ,PP,Sterile,Plug-Seal Cap, in Rack | GenDEPOT | NEST Standard centrifuge tube, sterile (15 ml and 50 ml) - 15 mL - PS Rack, 50/pk, 500/cs | NEST Scientific | 相同 | Both 15ml sterile PP centrifuge tubes in racks | 可替代 | Both sterile 15 mL conical tubes, different brand/material (PP vs PS rack), functionally equivalent | 0.817 | 可替代，相同容量
P1274 |  | 同类耗材，容量不同 | Cryogenic Vials-Multi Barcodes, External Thread, 1.0ml, 25 Sets/Bag, 1000 Pcs/Case - Purple / 1000 Pcs | Biologix | Cryogenic Vials-Multi Barcodes, External Thread, 0.5ml, 25 Sets/Bag, 1000 Pcs/Case - Blue / 1000 Pcs | Biologix | 不可替代 | Different volume (1.0ml vs 0.5ml) and color-coded vials, different SKUs for different uses | 可替代 | Same cryovial line but different fill volume (1.0 vs 0.5 mL) and colour code | 0.9 | 不可替代
P1286 |  | 同类耗材，容量不同 | Faeces tube, with spoon, screw cap, 101 x 16.5 mm, transparent, 250 Piece(s) | SARSTED | Faeces tube, screw cap, 76 x 20 mm, transparent, 500 Piece(s) | SARSTED | 不可替代 | Different tube dimensions and pack sizes for faeces tubes, different specs | 可替代 | Both faeces collection tubes but different dimensions and one lacks spoon | 0.955 | 不可替代
P1297 |  | 同类耗材，容量不同 | SafeSeal reaction tube, 2 ml, PP, Biosphere plus, 250 Piece(s) | SARSTED | SafeSeal reaction tube, 1.5 ml, PP, PCR Performance Tested, Low protein-binding, 200 Piece(s) | SARSTED | 可替代 | Different tube volume and protein-binding spec, same general reaction tube use | 不可替代 | Different tube volume (2 ml vs 1.5 ml) and different surface/spec grade | 0.902 | 不可替代
P1419 |  | 同类耗材，容量不同 | Screw cap micro tube, 2 ml, sterile, 1000 Piece(s) | SARSTED | Screw cap micro tube, 2 ml, 250 Piece(s) | SARSTED | 相同 | Same screw cap micro tube 2ml, only pack size differs | 可替代 | Same 2 ml screw cap tube but A is sterile, B non-sterile; sterility differs beyond pack size | 0.975 | 不可替代，一个无菌
P1460 |  | 同类耗材，容量不同 | Cryogenic Vials-Multi Barcodes, External Thread, 1.0ml, 25 Sets/Bag, 1000 Pcs/Case - Clear / 1000 Pcs | Biologix | Cryogenic Vials-Multi Barcodes, External Thread, 0.5ml, 25 Sets/Bag, 1000 Pcs/Case - Blue / 1000 Pcs | Biologix | 不可替代 | Different vial volumes (1.0ml vs 0.5ml) with different colors, not interchangeable pack sizes | 可替代 | Same barcoded cryovial line but different fill volume (1.0 vs 0.5 ml) and color; volume difference matters for storage but often interchangeable | 0.923 | 不可替代
P1483 |  | 同类耗材，容量不同 | 20ul Low Retention Filter Tip, Universal Fit,96/Rack | GenDEPOT | Filter Pipette Tips-1,000uL Extra-Long, Low Retention (50 Racks/Case) | Biologix | 不可替代 | Different tip volume (20ul vs 1000uL) and length spec, not interchangeable for most applications | 可替代 | Both low-retention filter tips but different volume (20 µL vs 1000 µL) and pack format | 0.831 | 不可替代
P1650 |  | 同类耗材，容量不同 | S-Monovette rack D17, opening: 17 mm, 5 x 10, red, 1 Piece(s) | SARSTED | Rack, PC, format: 10 x 2, suitable for tubes, all S-Monovette diameters, 1 Piece(s) | SARSTED | 不可替代 | Different rack formats/sizes for tube holding, not interchangeable | 可替代 | Both S-Monovette tube racks but different format/capacity (5x10 fixed 17 mm vs 10x2 all diameters) | 0.836 | 不可替代
P1659 |  | 同类耗材，容量不同 | Serological pipette, with tip, plugged, 5 ml, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic,, 500 Piece(s) | SARSTED | 5 ml Disposable Serological Pipette CPP00005 - CPP00005: 200/Case (50/Pack, 4 Packs/Case) | Vazyme | 相同 | Both are 5ml sterile serological pipettes, same specification, different brand/pack | 可替代 | Both sterile 5 mL disposable serological pipettes; different brand/pack details make them functionally interchangeable but not identical SKUs. | 0.797 | 可替代，相同容量
P1708 |  | 同类耗材，容量不同 | Biologix® Pipette Tips-10µl/200μl/1000µl/1000µl Extended, (Rack, Sterile) - 1000µl Extended / Case(9600 pcs) | Biologix | 10 μl Pipette Tips (Rack) PTR00111 - PTR00111: 960 (10 racks of 96) / Unit | Vazyme | 可替代 | Both pipette tips but different size ranges and brands | 不可替代 | 1000µl extended tips vs 10µl tips - incompatible volumes | 0.768 | 不可替代
P1740 |  | 同类耗材，容量不同 | Screw cap micro tube, 2 ml, 250 Piece(s) | SARSTED | Screw cap micro tube, 0.5 ml, Biosphere plus, 500 Piece(s) | SARSTED | 不可替代 | Different tube volumes (2ml vs 0.5ml) - different specification | 可替代 | Same screw-cap micro tube line but different volume (2 mL vs 0.5 mL) and Biosphere plus grade | 0.909 | 不可替代
P1818 |  | 同类耗材，容量不同 | 1000 μl Pipette Tips (Filtered, Rack) PTR10021 - PTR10022: 4800 (5 units of 960) / Case | Vazyme | Filter Pipette Tips-10μl, 20ul, 50ul, 100ul, 200ul, 1000ul Extra-Long, Low Retention, 96/Rack, 4800/Case - 1-100ul / Case (50 Racks) | Biologix | 可替代 | Both filtered 1000ul pipette tips in racks, different brands, similar specs | 不可替代 | 1000 µl filtered tips vs 1-100 µl extra-long tips; incompatible volume range | 0.804 | 不可替代
P1824 |  | 同类耗材，容量不同 | Biologix® Petri Dishes-150x15mm, 10/Bag, 30/Pack, 200/Case - Case ( 200Pcs ) | Biologix | NEST Petri Dish, Sterile 20/pk, 500/cs - 100 x 15 mm, Y-Plate (3-section), stackable | NEST Scientific | 可替代 | Both sterile petri dishes usable for culture, but different size/design and brand | 不可替代 | 150mm standard dish vs 100mm 3-section Y-plate; different format | 0.79 | 不可替代
P1863 |  | 同类耗材，容量不同 | Cryogenic Vials with Side Bardcode-0.5 ml, External Thread, 25/Bag, 500/Pack, 1000/Case - Red / Case (1000 pcs/Case) | Biologix | Cryogenic Vials with Side Bardcode-0.5 ml, External Thread, 25/Bag, 500/Pack, 1000/Case - Blue / Case (1000 pcs/Case) | Biologix | 不可替代 | Different color-coded vials likely used for sample differentiation, not interchangeable in workflow | 相同 | Same barcoded 0.5 mL cryovial, only cap colour code differs | 0.955 | 可替代
P1883 |  | 同类耗材，容量不同 | NEST 100 uL 96 Well PCR Plate, No Skirt, H12 notch, 25/pk, 100/cs - White | NEST Scientific | 0.2ml 96 Well PCR Plate, Semi Skirt, Clear, A12 notch, 25/pk, 100/cs, for ABI machine (ABI Equivalent) | AstorScientific | 可替代 | Both are 96-well PCR plates with similar volume, differing skirt/notch type and brand equivalence claimed | 不可替代 | Skirt format and notch differ (no-skirt white vs semi-skirt clear), affecting instrument fit. | 0.805 | 不可替代
P0060 |  | 同类产品，灭菌状态或等级不同 | Tissue culture dish, (xH): 100 x 20 mm, surface: Suspension, 300 Piece(s) | SARSTED | NEST Cell culture dishes, TC, Sterile (35 mm to 150 mm) - 100 mm - 5/bag - 300/cs | NEST Scientific | 可替代 | Both 100mm tissue culture dishes but differing surface treatment (suspension vs TC-treated) changes cell attachment behavior | 不可替代 | Suspension (non-treated) surface vs TC-treated culture dish; surface treatment changes cell attachment | 0.813 | 不可替代
P0121 |  | 同类产品，灭菌状态或等级不同 | Dulbecco's Phosphate-Buffered Saline (DPBS) - 1L | GenDEPOT | 1x Dulbecco’s Phosphate Buffered Saline (DPBS) Without Calcium, and magnesium, Sterile for Cell Culture - 6 x 1 L | TribioScience | 相同 | same DPBS formulation without calcium/magnesium, different pack size/brand | 可替代 | Both sterile 1x DPBS for cell culture, different brand and pack configuration; formulation (Ca/Mg-free) presumed same. | 0.869 | 不可替代
P0191 |  | 同类产品，灭菌状态或等级不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Corning® Fetal Bovine Serum, 500 mL, Premium, United States Origin,Sterile - Yes | AstorScientific | 可替代 | Both are FBS products but different processing (charcoal stripped vs standard premium), affecting hormone content | 不可替代 | Charcoal-stripped (hormone-depleted) FBS vs standard premium FBS changes experimental outcome | 0.796 | 不可替代
P0278 |  | 同类产品，灭菌状态或等级不同 | Dulbecco's Phosphate-Buffered Saline (DPBS) - 500ml | GenDEPOT | 1 x DPBS, Endotoxin Free (Sterile), Sterile 500 ML/each-Free shipping | AstorScientific | 相同 | same DPBS formulation and volume, differences are labeling only | 可替代 | Same DPBS buffer; endotoxin-free sterile grade is a specification upgrade | 0.796 | 不可替代
P0298 |  | 同类产品，灭菌状态或等级不同 | NEST 96 Well ELISA Plate, High Binding, Non-sterile, 5/pk, 50/cs - Clear - undetachable | NEST Scientific | Assay Plate: 96-Well, “V” Bottom, Clear, RNase/DNase-, and Pyrogen-free - 50 Plates | TribioScience | 可替代 | Both 96-well assay plates for lab use, differing surface treatment/bottom shape | 不可替代 | High-binding flat ELISA plate vs V-bottom assay plate; binding surface and geometry differ | 0.747 | 不可替代
P0482 |  | 同类产品，灭菌状态或等级不同 | Serological Pipettes, 100ml , Sterile, Individually Wrapped | GenDEPOT | Serological pipette, with tip, plugged, 10 ml, sterile, 25 piece(s)/bag, 500 Piece(s) | SARSTED | 不可替代 | 100ml vs 10ml serological pipette volumes differ greatly, affecting experimental use and dispensing scale | 可替代 | Same sterile serological pipette type but 100 ml vs 10 ml capacity | 0.883 | 可替代,serological pipette 一般都是灭菌的
P0741 |  | 同类产品，灭菌状态或等级不同 | NEST 6 Cell Culture Inserts+6 Well Plate, PET Membrane, TC, Sterile, 6/pk, 60/cs - 3.0 um | NEST Scientific | NEST Cell Culture Plate, Flat, TC, sterile 1/pk - 6 Well - 50/cs | NEST Scientific | 不可替代 | Insert+plate combo product vs standalone plate, different functional use | 可替代 | Insert-plus-plate transwell system vs plain 6-well plate; related culture ware but different function | 0.847 | 不可替代
P0809 |  | 同类产品，灭菌状态或等级不同 | Serological pipette, with tip, plugged, 10 ml, sterile, non-pyrogenic/endotoxin-free, non-cytoto..., 500 Piece(s) | SARSTED | Serological Pipettes, 1ml , Sterile, Individually Wrapped , 1 ml - 500/pk | GenDEPOT | 不可替代 | Different volume capacity (10ml vs 1ml serological pipettes), not interchangeable for volume-specific applications | 可替代 | Same consumable type but 10 ml vs 1 ml capacity — different pipetting volume | 0.826 | 不可替代
P0853 |  | 同类产品，灭菌状态或等级不同 | Biologix® 50ml Conical Bottom Centrifuge Tubes With Screw Caps, Sterile, 500/Case - Plug Seal / Bulk (25 /Bag, 20 Bags/Case) | Biologix | Biologix® 15ml Conical Bottom Centrifuge Tubes With Screw Caps, Sterile, 500/Case - Flat Top / Bulk (500/Case) | Biologix | 不可替代 | Different tube volumes (50ml vs 15ml) and cap types | 可替代 | Same tube line but 50 mL vs 15 mL capacity (and cap style) - different volume format | 0.914 | 不可替代
P0918 |  | 同类产品，灭菌状态或等级不同 | NEST Filtered Pipette Tips, Clear, Racked, Low Retention, Sterile, 96/box, 960/pk, 4800/cs - 20 ul | NEST Scientific | 20ul Low Retention Filter Tip, Universal Fit,96/Rack | GenDEPOT | 可替代 | Both 20ul low retention filter tips, sterile racked, different brands but functionally interchangeable | 相同 | Both 20 µl low-retention filtered pipette tips, racked 96/rack; only brand/pack differ | 0.834 | 可替代
P0981 |  | 同类产品，灭菌状态或等级不同 | NEST Vacuum Filtration, 0.45 μm, PVDF, Sterile, 1/pk, 12/cs - 50 mL | NEST Scientific | OMICRON® Borosilicate Glass Fiber Binder Free Filter (Pack of 100) - 0.7um; 47mm similar to GF/F | AstorScientific | 可替代 | Both are filtration/filter products (membrane filter unit vs glass fiber filter) serving similar filtration purpose but different format | 不可替代 | Sterile vacuum filter unit vs glass fiber filter discs; different function and pore size | 0.682 | 不可替代
P1201 |  | 同类产品，灭菌状态或等级不同 | MCE Gridded Membrane Filter, Individual Pack, Sterile, 0.22μm, 47mm, 100 Pcs/Box - White, Black grid | Biologix | OMICRON® Borosilicate Glass Fiber Binder Free Filter (Pack of 100) - 0.7um; 47mm similar to GF/F | AstorScientific | 可替代 | Different filter materials (MCE vs glass fiber) and pore size (0.22um vs 0.7um) serve different filtration purposes but same general filtering function | 不可替代 | MCE 0.22µm sterile membrane vs glass fiber 0.7µm prefilter - different material and pore size/function | 0.678 | 不可替代
P1317 |  | 同类产品，灭菌状态或等级不同 | NEST Syringe Filter, 13 mm Housing Diameter, PVDF membrane, Sterile, Individually wrapped, 50/cs - 0.45 um | NEST Scientific | Sterile Syringe Filter-CA, 30mm Diameter (Female Luer Lock + Male Luer Slip), 100/Pack, 400/Case - Case(400 Pcs) / 0.22um | Biologix | 不可替代 | Different membrane material, size, and pore size (PVDF 0.45um vs CA 0.22um) | 可替代 | Both sterile syringe filters but differ in pore size (0.45 vs 0.22 um), membrane and diameter | 0.76 | 不可替代
P1325 |  | 同类产品，灭菌状态或等级不同 | 0.2 ml Skirted Micro Well Plates RSP09602-EN - RSP09602-EN:50 Plates/Box | Vazyme | Assay Plate: 96-Well, “V” Bottom, Clear, RNase/DNase-, and Pyrogen-free - 50 Plates | TribioScience | 可替代 | Both are 96-well plates for PCR/assay use, different well shapes/branding but functionally interchangeable for many uses | 不可替代 | 0.2 ml PCR skirted plate vs V-bottom assay plate; different function | 0.752 | 不可替代
P1413 |  | 同类产品，灭菌状态或等级不同 | Filtropur V50, Vacuum filtration unit, 500 ml, PES, 0.1 ¬µm, 12 Piece(s) | SARSTED | NEST Vacuum Filtration, 0.45 μm, PVDF, Sterile, 1/pk, 12/cs - 150 mL | NEST Scientific | 可替代 | Both vacuum filtration units but different pore size/membrane and volume | 不可替代 | Different pore size (0.1 vs 0.45 µm), membrane (PES vs PVDF) and volume — changes filtration outcome. | 0.799 | 不可替代
P1521 |  | 同类产品，灭菌状态或等级不同 | Vacuum Filtration Unit, Membrane: PES, Pore size: 0.22μm, 1/Pack, 12/Case - 12 Pcs/Case | Biologix | Sterile Syringe Filter-CA, 30mm Diameter (Female Luer Lock + Male Luer Slip), 100/Pack, 400/Case - Case(400 Pcs) / 0.22um | Biologix | 不可替代 | Vacuum filtration unit vs syringe filter - different device types and use cases | 可替代 | Both 0.22 µm sterilizing filters; bottle-top vacuum unit vs syringe filter differ in format/volume but serve same sterile filtration purpose | 0.787 | 不可替代
P1524 |  | 同类产品，灭菌状态或等级不同 | MCE Gridded Membrane Filter, Individual Pack, Sterile, 0.22μm, 47mm, 100 Pcs/Box - Black，White grid | Biologix | OMICRON® Borosilicate Glass Fiber Binder Free Filter (Pack of 100) - 0.7um; 47mm similar to GF/F | AstorScientific | 可替代 | Both 47mm filters ~similar pore size but different materials (MCE vs glass fiber) serve similar filtration purposes | 不可替代 | Sterile gridded MCE 0.22µm membrane for microbiology vs glass fiber 0.7µm prefilter | 0.685 | 不可替代
P1543 |  | 同类产品，灭菌状态或等级不同 | NEST Cell Culture Plate, Flat, TC, sterile 1/pk - 12 Well - 50/cs | NEST Scientific | Cell Culture Plates-6/12/24/48/96-Well, 1/Pack, 50/Case - 12-well / Case (50 pcs) | Biologix | 可替代 | Same well count and format (12-well TC plates) from different brands, functionally interchangeable | 相同 | Equivalent 12-well TC-treated culture plates, 50/case, different brands | 0.838 | 无法判断，不知道是不是tc treated (biologix)
P1581 |  | 同类产品，灭菌状态或等级不同 | SureStrain™ Premium Cell Strainers, 70 µm, Sterile, Individually Wrapped | GenDEPOT | Cell strainer, pore size: 40 ¬µm, blue, 50 Piece(s) | SARSTED | 可替代 | Both cell strainers but different pore sizes (70µm vs 40µm) and brands | 不可替代 | Different pore size (70 µm vs 40 µm) changes the cell fraction retained. | 0.827 | 不可替代
P1657 |  | 同类产品，灭菌状态或等级不同 | Assay Plate: 96-Well, “V” Bottom, Clear, RNase/DNase-, and Pyrogen-free - 50 Plates | TribioScience | NEST Cell Culture Plate, Flat, TC, sterile 1/pk - 96 Well - 100/cs | NEST Scientific | 可替代 | Both are 96-well plastic plates for lab use, but different well shapes (V-bottom vs flat) and treatment (RNase-free vs TC) | 不可替代 | V-bottom non-treated assay plate vs TC-treated flat-bottom cell culture plate; surface and geometry change results. | 0.746 | 不可替代
P1658 |  | 同类产品，灭菌状态或等级不同 | Serological pipette, with tip, plugged, 5 ml, sterile, non-pyrogenic/endotoxin-free, non-cytotoxic,, 500 Piece(s) | SARSTED | Serological Pipettes, 1ml , Sterile, Individually Wrapped , 1 ml - 500/pk | GenDEPOT | 不可替代 | Different volume (5ml vs 1ml) serological pipettes, spec difference changes usage | 可替代 | Both sterile serological pipettes but different volumes (5 ml vs 1 ml) | 0.838 | 不可替代
P1706 |  | 同类产品，灭菌状态或等级不同 | Biologix® Sterile Serological Pipettes-1ML, 2ML, 5ML, 10ML, 15ML, 50ML - 2ml / Case | Biologix | Serological Pipettes, 1ml , Sterile, Individually Wrapped , 1 ml - 500/pk | GenDEPOT | 不可替代 | Biologix listing covers multiple sizes/case format, not matching specific 1ml/500pk sterile pipette spec | 可替代 | Both sterile serological pipettes but different nominal volume (2 mL vs 1 mL) | 0.845 | 不可替代
P1709 |  | 同类产品，灭菌状态或等级不同 | NEST 0.1 or 0.2 mL PCR 8-strip Tubes, Clear or White, Sterile, 125/pk, 1250/cs - 0.2 mL - Clear | NEST Scientific | NEST 0.1 or 0.2 mL PCR 8-strip Tubes, Clear or White, Sterile, 125/pk, 1250/cs - 0.2 mL - White | NEST Scientific | 相同 | Same product line, only color variant (clear vs white) differs | 可替代 | Same tubes, color differs (clear vs white); white affects optical/qPCR reflectivity but broadly interchangeable for PCR | 0.979 | 不可替代
P1722 |  | 同类产品，灭菌状态或等级不同 | NEST Bottle Top Vacuum Filter, 0.22μm, PVDF, Sterile, 1/pk, 24/cs - 500 mL | NEST Scientific | NEST Syringe Filter, 25 mm Housing Diameter, PVDF membrane, Sterile, Individually wrapped, 50/cs - 0.22 um | NEST Scientific | 不可替代 | Bottle top vacuum filter vs syringe filter are different filtration formats | 可替代 | Both 0.22um PVDF sterile filters but bottle-top vacuum vs syringe format; different throughput use | 0.849 | 不可替代
P1902 |  | 同类产品，灭菌状态或等级不同 | Biologix® Sterile Serological Pipettes-1ML, 2ML, 5ML, 10ML, 15ML, 50ML - 50ml / Case | Biologix | 5 ml Disposable Serological Pipette CPP00005 - CPP00005: 200/Case (50/Pack, 4 Packs/Case) | Vazyme | 可替代 | Both serological pipettes; A is a multi-size range including 5ml matching B's specific size | 不可替代 | Different pipette capacity (50 ml vs 5 ml) changes use | 0.82 | 不可替代
P1910 |  | 同类产品，灭菌状态或等级不同 | Biologix® Sterile Serological Pipettes-1ML, 2ML, 5ML, 10ML, 15ML, 50ML - 1ml / Case | Biologix | Serological Pipettes, 1ml , Sterile, Individually Wrapped , 1 ml - 500/pk | GenDEPOT | 可替代 | Both sterile 1ml serological pipettes, different brand/packaging | 相同 | Both 1 mL sterile individually wrapped serological pipettes; only brand/pack differ | 0.875 | 可替代
P1935 |  | 同类产品，灭菌状态或等级不同 | lumox multiwell, Cell culture plate, with foil base, 384 well, 4 Piece(s) | SARSTED | Corning® 384-well Black/Clear Round Bottom Ultra-Low Attachment Spheroid Microplate, Bulk Packed 10 per Bag, with Lid, Sterile | AstorScientific | 可替代 | Both are 384-well culture plates but different surface treatment (foil base vs ultra-low attachment) | 不可替代 | Gas-permeable foil-base imaging plate vs ultra-low-attachment spheroid plate; different function | 0.786 | 不可替代
P1960 |  | 同类产品，灭菌状态或等级不同 | Serological Pipettes, 1ml , Sterile, Individually Wrapped , 1 ml - 500/pk | GenDEPOT | NEST Serological Pipette Individually Wrapped, sterile - 5 mL - 2.5ml negative graduation, 1/10 ml graduations, 50/bag, 200/pk, 800/cs | NEST Scientific | 可替代 | Both sterile individually wrapped serological pipettes but different volume (1ml vs 5ml) | 不可替代 | 1 mL vs 5 mL serological pipette - different volume/graduation, not interchangeable | 0.825 | 不可替代
P1978 |  | 同类产品，灭菌状态或等级不同 | Corning® 384-well Black/Clear Round Bottom Ultra-Low Attachment Spheroid Microplate, Bulk Packed 10 per Bag, with Lid, Sterile | AstorScientific | lumox multiwell, Cell culture plate, with foil base, 384 well, 20 Piece(s) | SARSTED | 可替代 | Both 384-well cell culture plates, different surface treatment/format but similar use | 不可替代 | Ultra-low attachment spheroid plate vs gas-permeable foil-base imaging plate; different function | 0.784 | 不可替代
P0039 |  | 同一基础配方，添加成分不同 | Stop Solution for TMB Substrate - 1000 ML | TribioScience | TMB Stop Buffer - 500ml | GenDEPOT | 可替代 | Both are TMB stop solutions/buffers serving the same ELISA stopping function, different brands/volumes | 相同 | Both acid stop solutions for TMB ELISA substrate; only volume/brand differ | 0.829 | 可替代
P0087 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum-Clearance - Gibco-A5256801-FBS Heat Inactivated Fetal Bovine Serum 500 ml | AstorScientific | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | 可替代 | Both FBS but heat inactivated vs charcoal stripped serve different purposes for some applications, though both are FBS supplements | 不可替代 | Heat-inactivated standard FBS vs charcoal-stripped FBS (hormone-depleted) - changes experiments. | 0.794 | 不可替代
P0092 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum-Clearance - Gibco-A5256801-FBS Heat Inactivated Fetal Bovine Serum 500 ml | AstorScientific | Tribo Cardiomyocyte-Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 不可替代 | one is standard heat-inactivated FBS, other is cardiomyocyte-qualified specialty FBS | 可替代 | Both 500 mL FBS, but one is heat-inactivated generic and other is cardiomyocyte-qualified; usable for similar purpose with caveats. | 0.798 | 可替代
P0179 |  | 同一基础配方，添加成分不同 | MCDB 131 Medium - 500ml | GenDEPOT | Tribo™ MSC Medium - 500 ML | TribioScience | 可替代 | Both are cell culture media (MSC-related) that could serve similar culturing purposes though formulations differ | 不可替代 | MCDB 131 (endothelial/defined) vs MSC-specific medium; different intended cell types | 0.866 | 不可替代
P0183 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Tribo™ Germine Transmission Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 可替代 | Both FBS products serving similar cell culture supplement purpose, different specialty grades | 不可替代 | Charcoal-stripped FBS (hormone-depleted) vs germline-transmission qualified FBS; different specification affecting results | 0.869 | 不可替代
P0184 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Tribo™ Cancer Cell Qualified Fetal Bovine Serum (FBS) - 100 ML | TribioScience | 可替代 | Both are FBS products for cell culture, different specialty grades but interchangeable for many uses | 不可替代 | Charcoal-stripped FBS (hormone-depleted) vs standard qualified FBS; different experimental use | 0.848 | 不可替代
P0185 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Tribo Cardiomyocyte-Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 可替代 | Both are specialized FBS variants but different treatment/qualification (charcoal stripped vs cardiomyocyte-qualified) serving different specific purposes | 不可替代 | Charcoal-stripped (hormone-depleted) FBS vs cardiomyocyte-qualified FBS; stripping changes experimental outcome. | 0.862 | 不可替代
P0187 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Tribo™ Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 不可替代 | Charcoal-stripped FBS is hormone-depleted for specific assays, not interchangeable with standard FBS | 可替代 | Both FBS 500ml, but A is charcoal-stripped (hormone-depleted), a functional difference; still serve serum role for some uses | 0.88 | 不可替代
P0188 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Premium USDA-Origin Fetal Bovine Serum (FBS) - 500 ml | AstorScientific | 可替代 | Both are FBS products but different treatments (charcoal stripped vs standard) affecting hormone content | 不可替代 | Charcoal-stripped FBS (hormone-depleted) vs standard FBS changes experimental outcome | 0.841 | 不可替代
P0189 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 500ml | GenDEPOT | Tribo™ Adipocyte Differentiation-Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 可替代 | Both are specialized FBS but qualified for different applications (charcoal-stripped for hormone studies vs adipocyte differentiation) | 不可替代 | Charcoal-stripped (hormone-depleted) FBS vs differentiation-qualified standard FBS; different specification changes results | 0.844 | 不可替代
P0208 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum (FBS), Premium, US Origin , Heat Inactivated | GenDEPOT | Premium USDA-Origin Fetal Bovine Serum (FBS) - 500 ml | AstorScientific | 相同 | Both are premium US/USDA-origin heat-inactivated FBS, same product type | 可替代 | Both premium US-origin FBS, but A is heat-inactivated and B is not | 0.846 | 可替代
P0218 |  | 同一基础配方，添加成分不同 | Tribo™ Tet-Free Fetal Bovine Serum (FBS) - 500 ML | TribioScience | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | 可替代 | Both FBS products but different treatment (Tet-free vs charcoal stripped) serve overlapping but distinct purposes | 不可替代 | Tet-free FBS vs charcoal-stripped FBS serve different assay needs (hormone-free vs tetracycline-free) | 0.847 | 不可替代
P0219 |  | 同一基础配方，添加成分不同 | Tribo™ Tet-Free Fetal Bovine Serum (FBS) - 500 ML | TribioScience | Fetal Bovine Serum, Premium, US Origin, Dialyzed | GenDEPOT | 可替代 | Both FBS products for cell culture, different brands/specs but similar purpose | 不可替代 | Tet-free FBS vs dialyzed FBS serve distinct specialized applications | 0.816 | 可替代
P0347 |  | 同一基础配方，添加成分不同 | Ham’s F12 medium with L-Glutamine (TBS8032) - 500 ML | TribioScience | Ham's F-10 Nutrient Mixture, With L-Glutamine - 500ml | GenDEPOT | 不可替代 | Ham's F12 vs Ham's F-10 are different nutrient formulations | 可替代 | Different basal media formulations (F-12 vs F-10), similar purpose but distinct nutrient composition | 0.811 | 不可替代
P0350 |  | 同一基础配方，添加成分不同 | Ham’s F12 medium with L-Glutamine (TBS8032) - 500 ML | TribioScience | Ham's F-12 (Kaighn's Modification),With L-Glutamine - 6x500ml | GenDEPOT | 相同 | Same Ham's F12 with L-Glutamine base medium, differ only in pack size/supplier | 可替代 | Ham's F-12 vs Kaighn's modified F-12K differ in formulation but serve similar culture role | 0.841 | 不可替代
P0458 |  | 同一基础配方，添加成分不同 | Ham’s F12K Medium (TBS8032K) - 500 ML | TribioScience | Ham's F-12 (Kaighn's Modification),With L-Glutamine - 6x500ml | GenDEPOT | 可替代 | Both Ham's F12-based media but different modifications (F12K vs Kaighn's) | 相同 | F12K is Kaighn's modification of Ham's F12; same medium, pack size differs | 0.827 | 不可替代
P0477 |  | 同一基础配方，添加成分不同 | Premium USDA-Origin Fetal Bovine Serum (FBS) - 50 ml | AstorScientific | Fetal Bovine Serum, Premium, US Origin, Dialyzed | GenDEPOT | 可替代 | Both premium US-origin FBS, minor spec difference (dialyzed) | 不可替代 | Standard FBS vs dialyzed FBS; dialysis removes small molecules and changes media formulation | 0.809 | 可替代
P0563 |  | 同一基础配方，添加成分不同 | DMEM/F12, HEPES (TBS8083) - 500 ML | TribioScience | DMEM/Ham's F-12 (1:1 Mixture), With HEPES - 6x500ml | GenDEPOT | 可替代 | same DMEM/F12+HEPES formulation, different brand/size | 相同 | Same DMEM/F12 with HEPES medium, differing only in pack size/brand | 0.847 | 可替代
P0791 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | Tribo™ Germine Transmission Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 可替代 | Both FBS products but charcoal-stripped vs germline-qualified serve different specialized purposes | 不可替代 | Charcoal-stripped (hormone-depleted) FBS vs germline-transmission-qualified FBS serve different experimental needs | 0.847 | 不可替代
P0792 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | Fetal Bovine Serum-Clearance - Gibco-10438026-heat inactivated USDA-approved regions 500 ml | AstorScientific | 可替代 | Both FBS products but charcoal stripped vs heat inactivated differ in hormone content relevance | 不可替代 | Charcoal-stripped 100 ml vs standard heat-inactivated FBS 500 ml - different grade and size. | 0.814 | 不可替代
P0794 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | Fetal Bovine Serum-Clearance - Gibico-10438-034-FBS Heat lnactivated Fetal Bovine Serum 1000ml | AstorScientific | 可替代 | Both are FBS variants but differ in treatment (charcoal stripped vs heat inactivated), affecting hormone content but usable for general culture | 不可替代 | Charcoal-stripped FBS (hormone-depleted) vs standard heat-inactivated FBS; changes experiments | 0.803 | 不可替代
P0797 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | Premium USDA-Origin Fetal Bovine Serum (FBS) - 500 ml | AstorScientific | 相同 | Both are FBS products differing mainly in processing note and pack size; charcoal-stripped vs standard is a functional difference though | 可替代 | Both FBS, but charcoal-stripped removes hormones/steroids — not interchangeable for hormone-sensitive assays | 0.82 | 不可替代
P0798 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | Tribo™ ESC/iPSC Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 可替代 | Both charcoal-stripped/qualified FBS but different processing/qualification and volume, still same functional purpose for cell culture | 不可替代 | Charcoal-stripped FBS (hormone-depleted) vs ESC/iPSC-qualified standard FBS — different specification affecting experiments | 0.834 | 不可替代
P0799 |  | 同一基础配方，添加成分不同 | Fetal Bovine Serum, Charcoal Stripped - 100ml | GenDEPOT | Tribo™ Adipocyte Differentiation-Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | 可替代 | Both FBS products but different specialization (charcoal stripped vs adipocyte differentiation) | 不可替代 | Charcoal-stripped FBS vs adipocyte differentiation-qualified FBS; different serum specifications | 0.824 | 不可替代
P0952 |  | 同一基础配方，添加成分不同 | Stop Solution for TMB Substrate - 250 ML | TribioScience | TMB Stop Buffer - 500ml | GenDEPOT | 可替代 | Both are TMB stop solutions from different brands, functionally interchangeable despite volume difference | 相同 | Both are TMB stop solutions (acid) for ELISA; differ only in brand/volume. | 0.832 | 可替代
P1212 |  | 同一基础配方，添加成分不同 | Tribo Cardiomyocyte-Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | Fetal Bovine Serum, Premium, US Origin, Dialyzed | GenDEPOT | 可替代 | Both FBS products but different qualification/dialysis specs affecting cell applications | 不可替代 | Dialyzed FBS lacks small molecules vs cardiomyocyte-qualified standard FBS; changes experimental outcome | 0.816 | 不可替代
P1383 |  | 同一基础配方，添加成分不同 | Tribo™ Cancer Cell Qualified Fetal Bovine Serum (FBS) - 500 ML | TribioScience | Fetal Bovine Serum, Premium, US Origin, Dialyzed | GenDEPOT | 可替代 | both FBS products but different specifications (cancer cell qualified vs dialyzed premium) | 不可替代 | Standard FBS vs dialyzed FBS — dialysis changes metabolite content and experiment outcome | 0.828 | 不可替代
P1701 |  | 同一基础配方，添加成分不同 | TMB Stop Buffer - 500ml | GenDEPOT | Stop Solution for TMB Substrate - 500 ML | TribioScience | 可替代 | Both are TMB stop solutions for ELISA, functionally equivalent across brands | 相同 | Both are TMB stop solution, 500 mL; brand differs only | 0.857 | 可替代
P0046 |  | 不同品牌，功能相同 | WATER, 0.1um filtered, Cell Culture Tested - 50x500 ml | GenDEPOT | Agulos Biotech SimPL SP - 500 ml | AstorScientific | 可替代 | Both are cell culture grade water/media additive products, likely serving similar purpose but different specific formulations | 不可替代 | Cell culture grade water vs a proprietary culture supplement/medium product | 0.757 | 不可替代,Agulos Biotech SimPL SP - 500 ml 功能不同，这个不是水
P0114 |  | 不同品牌，功能相同 | 100 bp DNA Ladder MD104 - MD104-02: 100 rxns (5 µl/rxn) | Vazyme | 100bp DNA Ladder - 1.0 ML | TribioScience | 相同 | Both are 100bp DNA ladders, same product type just different brand/packaging | 可替代 | Both 100 bp DNA ladders but different brands/formulations and load formats | 0.833 | 可替代
P0123 |  | 不同品牌，功能相同 | Dulbecco's Phosphate-Buffered Saline (DPBS) - 1L | GenDEPOT | Phosphate Buffered Saline, PBS - 1 L/each, 10 X | TribioScience | 相同 | Both are standard DPBS/PBS buffer, interchangeable for most uses despite concentration note | 可替代 | Both PBS buffers but DPBS 1X vs PBS 10X concentrate; usable after dilution for most purposes | 0.794 | 不可替代
P0124 |  | 不同品牌，功能相同 | Dulbecco's Phosphate-Buffered Saline (DPBS) - 1L | GenDEPOT | Phosphate Buffered Saline, PBS - 1 L/each, 1 X | TribioScience | 相同 | Both standard DPBS/PBS 1x 1L, functionally interchangeable buffer | 可替代 | DPBS vs PBS 1X; similar balanced saline buffers, minor formulation difference | 0.793 | 不可替代
P0279 |  | 不同品牌，功能相同 | Plasmid DNA Rapidprep Mini Kit - 50 Samples | TribioScience | PURY Plasmid Maxi Kit - 50 Prep | GenDEPOT | 不可替代 | Mini prep kit vs Maxi prep kit differ in scale and yield, not interchangeable | 可替代 | Both plasmid DNA purification kits, but mini vs maxi prep scale gives very different yields | 0.839 | 可替代
P0379 |  | 不同品牌，功能相同 | Cell Culture Plate, 6 Well CCP01006 - CCP01006: 50/Case (1/Pack, 50 Packs/Case) | Vazyme | Cell Culture Plates-6/12/24/48/96-Well, 1/Pack, 50/Case - 6-Well / Case (50 pcs) | Biologix | 相同 | Both are 6-well cell culture plates, 50/case, differing only brand/packaging | 可替代 | Both sterile 6-well culture plates, 50/case; different manufacturers but equivalent function | 0.842 | 无法判断，不知道是不是tc treated (biologix)
P0581 |  | 不同品牌，功能相同 | Proteinase K - 1g | GenDEPOT | Proteinase K, Lyophilized Powder, Molecular Biology Grade (TBS2119) - 1 G | TribioScience | 可替代 | Same enzyme (Proteinase K) same grade/quantity but different suppliers, generally interchangeable | 相同 | Same enzyme, molecular biology grade proteinase K, same 1 g amount; only brand differs | 0.798 | 可替代
P0787 |  | 不同品牌，功能相同 | WATER, 0.1um filtered, Cell Culture Tested - 500 ml | GenDEPOT | Agulos Biotech SimPL SP - 500 ml | AstorScientific | 可替代 | Both are cell-culture grade aqueous reagents of similar volume, though composition may differ slightly | 不可替代 | Cell-culture grade water vs unrelated proprietary reagent | 0.777 | 不可替代,Agulos Biotech SimPL SP - 500 ml 功能不同，这个不是水
P0802 |  | 不同品牌，功能相同 | Tris Base, Ultra Pure - 5kg | GenDEPOT | 1M Tris-HCl Buffer - 1L, pH=9.5 | TribioScience | 可替代 | Both Tris buffer products but different form/pH/concentration | 不可替代 | Dry Tris base powder vs prepared 1M Tris-HCl buffer at fixed pH; different form and use | 0.784 | 不可替代
P0971 |  | 不同品牌，功能相同 | Goat anti-Rabbit IgG(H+L)-HRP, 1mg/ml | GenDEPOT | MyQu™ 520nm – 640nm emission -anti-rabbit IgG conjugates - 1.0 ML | TribioScience | 可替代 | Both are anti-rabbit IgG secondary conjugates (HRP vs fluorescent dye) usable for detection, but different conjugate type changes application | 不可替代 | Both anti-rabbit secondaries, but HRP enzymatic conjugate vs fluorescent dye conjugate require different detection systems | 0.761 | 不可替代
P0972 |  | 不同品牌，功能相同 | Goat anti-Rabbit IgG(H+L)-HRP, 1mg/ml | GenDEPOT | MagVigen™ anti-rabbit IgG conjugates - 1.0 ML | TribioScience | 可替代 | Both anti-rabbit IgG secondary conjugates but different conjugate chemistry (HRP vs magnetic bead) | 不可替代 | HRP-conjugated secondary antibody vs magnetic bead anti-rabbit conjugate; different function | 0.808 | 不可替代
P0993 |  | 不同品牌，功能相同 | Tris Base, Ultra Pure - 1kg | GenDEPOT | 1M Tris-HCl Buffer - 1L, pH=7.0 | TribioScience | 可替代 | Both provide Tris buffering capacity but differ in form (solid vs pre-made solution) and pH specification | 不可替代 | Dry Tris base powder vs prepared 1M Tris-HCl pH 7.0 buffer | 0.803 | 不可替代
P1035 |  | 不同品牌，功能相同 | Mouse Adipoq (Adiponectin) - Recombinant Protein - 100ug | Astor Scientific | Mouse Adiponectin ELISA Kit - 1 Plate Kit | AstorScientific | 可替代 | Recombinant protein vs ELISA kit for same target, different use but related purpose | 不可替代 | Recombinant protein standard vs ELISA detection kit; different function | 0.861 | 不可替代
P1041 |  | 不同品牌，功能相同 | CryoKING® Cardboard Freezer Boxes-2in ( Premium White) 5/Bag, 100/Case - 81-Well / Case (100 Pcs ) | Biologix | 5" Cardboard Freezer Boxes with Drain Holes - Water and Ice Resistant Coating, 50/Case - w/ 16 Dividers | AstorScientific | 不可替代 | Different sizes (2in vs 5in) and well counts/features, not interchangeable | 可替代 | Both cardboard freezer boxes, but different height (2in vs 5in) and 81-well vs 16-divider configuration; only loosely interchangeable | 0.737 | 无法判断
P1184 |  | 不同品牌，功能相同 | 100 bp DNA Ladder MD104 - MD104-01: 50 rxns (5 µl/rxn) | Vazyme | 100bp DNA Ladder - 1.0 ML | TribioScience | 相同 | Both 100bp DNA ladders, same product type differing only in packaging/volume | 可替代 | Same 100 bp DNA ladder function, different manufacturer/formulation and rxn count | 0.842 | 可替代
P1316 |  | 不同品牌，功能相同 | LB Broth, Miller - 500g | GenDEPOT | Tribo™ Terrific Broth (TB) Medium - 1 L | TribioScience | 不可替代 | Different media (LB Broth vs Terrific Broth), different formulations and uses | 可替代 | Both bacterial growth media but different formulations (LB Miller vs Terrific Broth), different yield/composition; usable for similar culture purposes | 0.83 | 不可替代
P1494 |  | 不同品牌，功能相同 | Exprep Hybrid-Q Plasmid, Mini Prep - 50 Sample | TribioScience | PURY Plasmid Maxi Kit - 50 Prep | GenDEPOT | 不可替代 | Mini prep vs Maxi prep kits differ in scale/yield, not interchangeable | 可替代 | Both plasmid purification kits but mini vs maxi scale yields differ | 0.815 | 可替代
P1582 |  | 不同品牌，功能相同 | dNTP Mixtures ,10mM each - 1ml | GenDEPOT | dNTP Mix (10 mM each) P031 - P031-02: 5 × 1 ml | Vazyme | 可替代 | Same dNTP mix concentration but different brand and pack size/volume | 相同 | Same 10 mM each dNTP mix; only pack volume/format differs | 0.879 | 可替代
P1589 |  | 不同品牌，功能相同 | CryoKING® Sliding Drawer Freezer Racks, 1 Piece/Case - 4 x 5 | Biologix | 5" Cardboard Freezer Boxes with Drain Holes - Water and Ice Resistant Coating, 50/Case - w/ 16 Dividers | AstorScientific | 不可替代 | Metal sliding drawer freezer racks vs cardboard freezer boxes are different storage solutions | 可替代 | Both freezer storage organizers but metal drawer rack vs cardboard boxes | 0.739 | 不可替代
P1645 |  | 不同品牌，功能相同 | Bexarotene, Retinoid RXR agonist (TBI2121) - 50 MG | TribioScience | Bexarotene, Free acid - 500mg | GenDEPOT | 可替代 | Same compound (Bexarotene) but different formulation/purity descriptors and pack sizes; likely usable interchangeably for research though different form noted (free acid vs standard) | 相同 | Same compound bexarotene, differing only in vendor/pack size and labeling | 0.805 | 可替代
P1678 |  | 不同品牌，功能相同 | CryoKING® PC Cryogenic Boxes-2in. 25-Well, 5/Pack, 30/Case - Pack (5 Pcs) | Astor Scientific | 5" Cardboard Freezer Boxes with Drain Holes - Water and Ice Resistant Coating, 50/Case - w/ 16 Dividers | AstorScientific | 不可替代 | Plastic cryogenic freezer boxes vs. cardboard freezer boxes - different material and specification | 可替代 | Both freezer storage boxes but different material (polycarbonate vs cardboard), size and well configuration | 0.799 | 无法判断
P1847 |  | 不同品牌，功能相同 | PURY Plasmid Maxi Kit - 50 Prep | GenDEPOT | GeneAll® Exfection™ Plasmid LE (Midi) - 26 Samples | TribioScience | 不可替代 | Different plasmid prep kits (Maxi vs Midi) from different brands, different scale/chemistry | 可替代 | Both plasmid purification kits but different scale (Maxi vs Midi) and brand; serve same purpose at different yields | 0.808 | 可替代